VISUAL INSPECTION REPORT FORM

(Reference: 49 CFR 180.215 )

Company ____________________________________                                  Service Unit # ________________________                                  RIN _________________________

Plant or City/State _______________________________________                                                                          Responsible Manager _________________________________

Signature

| CYLINDER IDENTIFICATION |  |  |  |  |  | PROTECTIVE COATING |  | CYLINDERS INSPECTED FOR |  |  |  |  |  |  |  | Disposition |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Serial No. | Identifying Symbol Or Name of Owner | ICC DOT Spec. | Name Of Manufacture | Date of Mfg. | Size (See Chart) | Type | Condition (Excellent, Good, Fair, Poor) | Corrosion and Pitting | Dents | Cuts, Digs and Gouges | Leaks | Fire Damage | Bulges | Neck Defects | Attachments | Disposition | Date Inspected (Month/Year) | Relief Valve Changed (Yes, No) | Inspector=s Initials |
| 325697 | JKL Co | 4BA240 | LP Cylinder Co. | Nov–80 | A | Galvanized | Good |  |  |  |  |  |  |  |  | OK | 5-17-16 | No | RB |
| 37934 | FGH Co | 4E240 | Propane Co. | July-75 | B | Paint | Fair |  | SC |  |  |  |  |  |  | SC | 6-20-16 |  | RB |
| 238756 | LP Co. | 4BW240 | Manchester | May-95 | A | Paint | Burned |  |  |  |  | SC | SC |  |  | SC | 7-15-16 |  | RB |
| 608735 | ABC Co. | 4BA280 | Worthington | June-84 | A | Paint | Fair |  |  |  | SC |  |  |  |  | SC | 9-1-16 | Yes | RB |

Disposition Code: OK - Return to Service                 SC - Scrap (Condemned)                        R  - Hold for Authorized Repair

Cylinder Size Chart

| Size | Pounds | Height | Width | Size | Pounds | Height | Width | Size | Pounds | Height | Width | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | 20 | 13.9” | 12.2” | E | 200 | 34.1” | 24” | I |  |  |  | 238756 Scrapped due to fire. |
| B | 33.5 | 28” | 12.3” | F | 420 | 45.6” | 30” | J |  |  |  |  |
| C | 43.5 | 33.7’ | 12.3” | G | 100 | 48” | 14.7” | K |  |  |  |  |
| D | 30 | 19.6” | 12.2” | H |  |  |  | L |  |  |  |  |